NA-DVR32224 32 CHANNEL PC-BASED DVR - 240 fps display & Recording - 16 audio inputs - Remote viewing over internet - Composite 2nd monitor output

Display FPS; 240. Record FPS; 240 (at 1CIF). Video Channels; 32 BNC-M. Audio Channels; 16 RCA-F. Record Resolution; 1CIF: 352x240, 2CIF: 704x240, 4CIF: 704x480. Compression; Proprietary Enhanced MJPEG (2~7kb/ frame at 1CIF). Video Input Voltage; 1 Vpp CVBS. Video Input Impedance; 75 Ohms (hi-impedance x 16 switchable). Video Recording Format; analog line-in, 11 KHz sampling rate. Monitor Output; 1 x VGA DB9, 1280x1024, 32 Bit, 70 Hz. Spot Monitor Output; 1 x BNC-M, 32 split only, no switching. USB Output; 2 x front, 2 x rear. RS232; 1 x DB9-M (RS232/485 converter required for PTZ). Network; 1 x 10/100 NIC onboard. Audio Out; 1 x Speaker Out. Media Writer; 1 x CDRW Drive. * Above specification and design subject to change without notification